## Slide 1
Proposal Discussion for He/Ne Beam Characterization on W7-X
E. Flom et al.

## Slide 2
Commissioning for OP1.2b (proposal tulb02)

## Slide 3
HeBeam
  5 He puffs from each of 5 nozzles in HM30 and HM51 (not simultaneous)
    Check for LoS allignment (2 discharges)
  Find right pressure  Pressure scan (in support of P. Drews, also useful for T. Kremeyer?)
NeBeam
  In detached conditions: 1 He reference discharge similar to 1.1. in each HM
  Admix Ne into He (25, 50, 75%) and repeat in HM30 & 51 (3 discharges)
  Pure Ne puff, repeat in HM 30 & 51, test different spectrometer settings (3 discharges)
“Needs” Commissioning for OP2

## Slide 4
Proposal has clear overlap with experiment proposals from Philipp and Thierry, is there anything else we can add?
What else can we do to simultaneously study e.g. helium buildup in island
  Helium recycling / „fueling“ efficiencies
  Flood island with helium?
  is Neon interesting to this group at all?
Request for Feedback + Discussion, what are our “wants”