## Slide 1: 9th WPSA Project Planning Meeting
Runaway Electrons on FTU: generation, dissipation, suppression and control
Gianluca Pucella
ENEA, Fusion and Nuclear Safety Department, C.R. Frascati, Italy

## Slide 2: Generation
Experimental observation of increased threshold electric field for RE generation due to synchrotron radiation losses in the FTU tokamak.
Liquid organic scintillator (NE213): n + 
BF3 chambers: n
[Martin-Solis J R et al 2010 Phys. Rev. Lett. 105 185002]
(relativistic collisional theory)
E >

## Slide 3: Dissipation
# 42540
n
 + n
RE losses enhancement by interaction with large magnetic islands.
Diamond-based Cherenkov probe measuring runaway electrons escaping from the plasma.
[F. Causa et al 2015, Nucl. Fusion 55 123021]

## Slide 4: Suppression
Pellet injections lead to complete suppression of REs by triggering bursts of MHD activity.
Fast electron bremsstrahlung camera for HXR measurements.
[D. Carnevale et al 2021 Nucl. Fusion 61 116050]

## Slide 5: Control
Control system acting on the central solenoid to reduce the RE beam current, while the RE beam is kept away from the vessel through feedback on magnetic coils.
235U fission chamber:
photoneutrons & photofission
[D. Carnevale et al 2018, PPCF 61 014036]
[L. Boncagni et al 2013, Fusion Eng. Des. 8 1109]

## Slide 6: Runaway Electron Imaging and Spectrometry
Measurement of synchrotron radiation spectra emitted by RE. The REIS-E (extended) system (500-4000 nm) is composed of four different spectrometers: visible, near infrared, mid-infrared spectrometers for the forward view and a visible spectrometer for the backward view.
Synchrotron radiation visible spectra fitted assuming monoenergetic RE energy distribution.
Synchrotron radiation intensity at several wavelenghts.
[F. Causa et al 2019, Rev. Sci. Instrum. 90 073501]

## Slide 7: Summary of diagnostics used for RE studies in FTU