## Slide 1: Measuring H2 molecules in divertor plasmas Development of a new CARS diagnostic for linear plasma devices
Kay Schutjes1, Ivo Classen1, Jordy Vernimmen1, Hennie van der Meiden1, and the Magnum-PSI Team1
1. DIFFER, Eindhoven, Netherlands

## Slide 2: Section 1
Motivation

## Slide 3: Neutrals Crucial for Detachment
1) N. Ohno, Plasma Phys. Control. Fusion (2017)
2) S.I. Krasheninnikov and A.S. Kukushkin, J. Plasma Phys. (2017) 3) A. Loarte, et al., Nucl. Fusion (2007)
4) K. Verhaegh, et al., ArXiv.org (2024)
5) M.J. De Graaf, et al., Phys. Rev. (1993)
Neutrals determine plasma dynamics near divertor 1,2,3,4
Only passive spectroscopy measurements performed  No accurate H2(ν,J) electronic ground state information!
Ion sinks essential for detachment 2,4 Important example:
CX: H2(ν,J) + H+ → H2+ + H*
MAR: e- + H2+ → 2H
Endothermic reaction; ν≥4 needed 5
But what is H2(ν,J) density?

## Slide 4: Research Goal
Directly measure H2(ν,J) populations in the electronic ground state
Full H2(ν,J) overview requires two diagnostics This talk only discusses CARS (Coherent Anti-Stokes Raman Scattering)

## Slide 5: Section 2
How CARS can measure H2 (ν,J)

## Slide 6: Measuring H2 – States we focus on

## Slide 7: Measuring H2 - States we focus on

## Slide 8: Measuring H2 - States we focus on
J = 0,1,…
J = 0,1,…
J = 0,1,…

## Slide 9: Measuring H2 - CARS Explanation
ν1=x
ν2=x+1
CARS: Coherent Anti-Stokes Raman Scattering

## Slide 10: Measuring H2 - CARS Explanation
CARS: Coherent Anti-Stokes Raman Scattering
Two-step process:
1) Couple 2 vibrational states of H2 Use 2 lasers: Pump and Stokes Pump - Stokes = ΔEvib
ν1=x
Pump
Stokes
Virtual state
Virtual state
ν2=x+1

## Slide 11: Measuring H2 - CARS Explanation
CARS: Coherent Anti-Stokes Raman Scattering
Two-step process:
1) Couple 2 vibrational states of H2 Use 2 lasers: Pump and Stokes Pump - Stokes = ΔEvib 2) ‘Excite’ state Measure Anti-Stokes photons  Indication for population density  Larger intensity + coherent beam
ν1=x
Pump
Stokes
Pump
Anti-Stokes
Virtual state
Virtual state
ν2=x+1

## Slide 12: CARS Setup

## Slide 13: Section 3
First CARS results on linear plasma device UPP

## Slide 14: H2(ν=0,J=1) Signal measured in UPP plasma

## Slide 15: H2(ν=0,J=1) Signal measured in UPP plasma

## Slide 16: H2(ν=0,J=1) Signal measured in UPP plasma

## Slide 17: Measured radial density profiles for H2(ν=0,J)

## Slide 18: Measured axial density profiles for H2(ν=0,J=1)

## Slide 19: Multiple H2(ν,J) states measured in plasma
Same as gif, but zoomed-out for several states
What causes detection limit?

## Slide 20: Background signal in UPP – Vacuum, no Plasma

## Slide 21: Section 4
Improving CARS sensitivity

## Slide 22: Ideal CARS vs reality
ν1=x
Pump
Stokes
Pump
Anti-Stokes
Virtual state
Virtual state
ν2=x+1
ν1=x
Pump
Stokes
Pump
Anti-Stokes
Virtual state
Virtual state
ν1=x+1 Virtual state

## Slide 23: Colinear CARS Laser Configuration
ν1=x
Pump
Stokes
Pump
Anti-Stokes
Virtual state
Virtual state
ν1=x+1 AND Virtual state
Lens
Lens

## Slide 24: BOXCARS Laser Configuration
ν1=x
Pump
Stokes
Pump
Anti-Stokes
Virtual state
Virtual state
ν2=x+1
Lens
Lens

## Slide 25: Comparison of Sensitivities in Lab
Notes: 1e19 m-3

## Slide 26: BOXCARS Setup

## Slide 27: Signal fluctuations in CARS

## Slide 28: BOXCARS Setup – w. Reference cell to monitor fluctuations

## Slide 29: Signal fluctuations in CARS

## Slide 30: Section 5
Preliminary BOXCARS results on Magnum-PSI

## Slide 31: Good news: first H2 data on Magnum!

## Slide 32: Bad news: unable to reach sensitivities from lab
Background signal observed in windows
Higher rovibrational states not measured

## Slide 33: Bad news: unable to reach sensitivities from lab
Background signal observed in windows
Higher rovibrational states not measured
Background may be supressed with filters or filtered out with displacement prism
Use bandpass filters to remove lasers before fluorescence generation

## Slide 34: Section 6
Conclusion and Outlook

## Slide 35: Conclusion and Outlook
Goals: measure up to ν=2. Provide H2(ν,J) population input for fusion modelling efforts
First experiments on UPP show CARS feasibility - Measured up to H2(ν=1,J=1). Axial and radial scans possible
CARS sensitivity in lab environment increased with BOXCARS - Able to measure down to 0.1 Pa or 1e19 m-3
BOXCARS on Magnum only enabled measurements of higher densities - Supress background signal from windows using displacement prism or bandpass filters

## Slide 36: Section 7
Extra Slides

## Slide 37: The Heat Exhaust Problem in Fusion
Melted divertor tungsten tile Credit: B. Lipschultz et al. (2012)
Heat load to ITER divertor must always remain under threshold value
Mitigation of loads essential. Use plasma detachment
Simulations disagree with experimental results. Impact on future devices?

## Slide 38: Measuring higher vibrational states: Future plans for a VUV-LIF setup
CARS: only up to ν=2
VUV-LIF: Vacuum UltraViolet LIF - Excite electronic ground states to higher states; measure fluorescence
Generate VUV light with a ‘Raman cell’ - N2 cooled H2 cell
All in vacuum!
Monitor signal with VUV spectrometers, calibrate with CARS