## Slide 1
LIBS campaign in JET
Ionuț Jepu

## Slide 2: Outlook
  LIBS “official” data access;
  Overview of the LIBS analysis locations;
  1st analysis plan (ongoing);
  Future planning (priority based) - discussions

## Slide 3: LIBS data access – STEP 1
  Data access to be done via the JET Data Centre service (JDC account)
  Each user needs to apply individually;
  To apply for JDC account/credentials use the link below:
  JET Data Centre — JET Data Centre Users Site 0.1.0 documentation

## Slide 4: LIBS data access – STEP 2 (once JDC account created)
  Access to the data warehouse is done via a VPN connection:
  Install FrotiClient VPN-only:
  Product Downloads | Fortinet Product Downloads | Support

## Slide 5: LIBS data access – STEP 3
  Configure FortiClient VPN for UKAEA access:
Your username
  Connect to UKAEA-JDC VPN:
JDC username
4-digit pin + 6-digit RSA token code
<- CLICK

## Slide 6: LIBS data access – STEP 4
On your PC/desktop create a shortcut folder:
Username: local\nobody
Password: <blank>(don't put any, leave empty)
\\dstorehost.JETdata.eu\rh-libs
For next prompt use:

## Slide 7
Short intense laser pulse;
Ablation of surface material;
Evaporation and ionization of material;
Formation of high-temperature plasma plume;
Optical emission of the exited elements via a spectrometer;
Information about the contents of the evaporated material
[1] R.E. Russo, X.L. Mao, H.C. Liu, J.H. Yoo, S.S. Mao: Appl. Phys. A 69 [Suppl.], S887–S894 (1999)
LIBS – Laser Induced Breakdown Spectroscopy
Concept of operation

## Slide 8
LIBS – Laser Induced Breakdown Spectroscopy
Application to JET
Target tile (HFGC)

## Slide 9
LIBS – Laser Induced Breakdown Spectroscopy
Application to JET – LIBS locations (examples)
W – coated CFC
Bulk W
Bulk Be
Be coated inconel
Inconel (vacuum vessel)
Targeted materials:

## Slide 10
LIBS – Laser Induced Breakdown Spectroscopy
Application to JET – LIBS locations (examples)
10 mm

## Slide 11
LIBS – Laser Induced Breakdown Spectroscopy
Application to JET – LIBS locations (examples)
HFGC_MOD2_RH2W
2IW G1B
2IW G3A
2BW G4B
LBSRP_2W_RH
2ON G7A
2ON G8B

## Slide 12
LIBS – Laser Induced Breakdown Spectroscopy
Application to JET – LIBS locations (examples)
HFGC_MOD2_RH2W
2IW G1B
2IW G3A
2BW G4B
LBSRP_2W_RH
2ON G7A
2ON G8B
10 mm

## Slide 13
LIBS – Laser Induced Breakdown Spectroscopy
Application to JET – LIBS locations (examples)
HFGC_MOD2_RH2W
2IW G1B
2IW G3A
2BW G4B
LBSRP_2W_RH
2ON G7A
2ON G8B
10 mm
6 mm

## Slide 14
LIBS – Laser Induced Breakdown Spectroscopy
Application to JET – LIBS locations (examples)

## Slide 15
LIBS – Laser Induced Breakdown Spectroscopy
Application to JET – LIBS locations (examples)
12 ×12 mm

## Slide 17: LIBS campaign @ JET completed
Objective/Task | Pulses/Sessions goals | Status | Pulse # | Dates
All planned locations sampled | Be and W coating thickness Fuel retention and deposition |  | 1-742 | 2-3, 7-8, 11-12, 14-15 October
Littrow delay settings optimisation | Improve H-D line resolution with laser pulses in high fuel retention areas (divertor HFGC & Tile 1) |  | 744-758 | 16-17 October
Repeated locations with new Littrow settings | Divertor - W-CFC, Tile 5 - W, IWP – Be & W, OPL - Be |  | 759-800 | 17 October
Divertor “risky pulses” (potential for damage to fibre due to space availability) | Fuel retention and deposition in divertor |  | 801-829 | 17 October
Littrow 1st order settings | Wider spectral range for comparison with Aryelle spectrometer |  |  | 18 October
Final D, D-H, Ne light calibration from J1T | Wavelength calibration check |  |  | 18 October
Fuel retention and deposition with Littrow 1st order settings | Tile 5 – W & Tile 4 – W-CFC |  | 830-840 | 18 October
Last day of LIBS campaign: 18th of Oct 2024
Total shifts: 20 shifts (including one Sunday)
One shift = 9.25 working hours

## Slide 18
X
Z
X
Z
X
Z
X
Z
X
Z
X
Z
X
Z
X
Z
4D
VW
Oct5
VW
Oct1
LIBS – Laser Induced Breakdown Spectroscopy – TOROIDAL MAP
W – coated CFC
Bulk W
Bulk Be
Be coated inconel
Inconel (vacuum vessel)

## Slide 19
LIBS – Laser Induced Breakdown Spectroscopy – FULL DISTRIBUTION MAP
W – coated CFC
Bulk W
Bulk Be
Be coated inconel
Inconel (vacuum vessel)
Poloidal direction
Toroidal direction
402

## Slide 20
LIBS – ANALYSIS PLANNING
W – coated CFC
Bulk W
Bulk Be
Be coated inconel
Inconel (vacuum vessel)
Poloidal direction
Toroidal direction
402

## Slide 21
LIBS – ANALYSIS – Divertor poloidal cross section
W – coated CFC
Bulk W
Poloidal direction
Toroidal direction

## Slide 22: Full poloidal cross-section of divertor
1st LIBS analysis plan
(ongoing)
Tile |  |  | Initial Pulse no. |  |  | Additional pulse no.(relatively same location) | 
HFGC (LH 14W) |  |  | 59 – 63 |  |  | 777 – 780 | 
Tile 1 (14IW G1B) |  |  | 808; 12 – 15; 73 – 74 |  |  | 786 (a repeat of 74) | 
Tile 3 (14IW G3A) |  |  | 809 – 811 |  |  | Same as above | 
Tile 4 (14BW G4C)A |  |  | 75 – 77 |  |  | 787 – 788 | 
Tile 5 LBSRP_14WLH | C1 | Stack A | 20 |  | 20 | 765 | 
 |  | Stack B | 23 |  | 23 | 766 | 
 |  | Stack C | 26 |  | 26 | 768 | 
 |  | Stack D | 29 |  | 29 | 769 | 
 | C21 | Stack A | 40 |  | 40 | 770 | 
 |  | Stack B | 43 |  | 43 | 771 | 
 |  | Stack B (C12) |  |  | 34 |  | 
 |  | Stack C | 46 |  | 46 | 773 | 
 |  | Stack D | 49 |  | 49 | - | 
Tile 6 |  |  | NO LIBS on T6 | NO LIBS on T6 |  | NO LIBS on T6 | NO LIBS on T6
Tile 7 (14ON G7A) |  |  | 805 | 805 |  | - | -
Tile 8 (14ON G8A) |  |  | 802; 54; 57 | 802; 54; 57 |  | 775 (between 54 and 57) | 775 (between 54 and 57)
Tile 8 (2ON G8B) |  |  | 360 & 368 | 360 & 368 |  | No repeated pulses | No repeated pulses
Top of tile 8 (14ON G8A) |  |  | 51 | 51 |  | - | -
1
LBSRP_14W LH
C1 & C21
14BWG4A
14ON G7A
6
7
0
3
4
5
8
1
HFGC_LH 14W
14IWG1B
14IWG3A
14ON G8A
LIBS – ANALYSIS – Divertor poloidal cross section

## Slide 23
W – coated CFC
Bulk W
Bulk Be
Be coated inconel
Inconel (vacuum vessel)
Poloidal direction
Toroidal direction
LIBS – ANALYSIS PLANNING – discussions

402

## Slide 24
LIBS – FULL Detailed DISTRIBUTION MAP
Be coated inconel
Poloidal direction
402

## Slide 25
LIBS – ANALYSIS PLANNING – discussions
Be calibration: 2X8 pulse #492 (from C3 tile)
Inconel (vessel wall) OCT1 middle: pulse no. #357
Pure W (W-wedge – Lamellae): Stack A pulse #20 and repeated pulse (with setting changes) pulse #765
W-CFC Top of tile 8: pulse no. #51 (250 shots)
JET LIBS CALIBRATION pulses (pure materials)